Biomedical Engineering

35 Multiple Choice Questions with Answers

| Level | Questions |
| --- | --- |
| Easy | Q1-16 (16) |
| Medium | Q17-28 (12) |
| Tough | Q29-35 (7) |

# Easy (Q1-16)

1. Biomedical engineering combines engineering principles with:

a) Only physics

b) Biology and medicine

c) Only chemistry

d) Economics

Ans: b. BME applies engineering to solve biological and medical problems.

2. An ECG records the electrical activity of the:

a) Brain

b) Muscles

c) Heart

d) Lungs

Ans: c. ECG means electrocardiogram (cardio = heart).

3. EEG measures signals from the:

a) Brain

b) Heart

c) Eyes

d) Nerves in the leg

Ans: a. Electroencephalogram (encephalo = brain).

4. EMG measures the electrical activity of:

a) Heart

b) Brain

c) Skeletal muscles

d) Stomach

Ans: c. Electromyogram (myo = muscle).

5. The normal resting heart rate of an adult is about:

a) 20-40 bpm

b) 60-100 bpm

c) 120-160 bpm

d) 180-220 bpm

Ans: b. Normal adult resting range is 60-100 beats per minute.

6. A sphygmomanometer is used to measure:

a) Body temperature

b) Blood glucose

c) Blood pressure

d) Lung capacity

Ans: c. It is the blood pressure measuring instrument.

7. A pulse oximeter measures:

a) Blood oxygen saturation (SpO₂)

b) Body fat

c) Blood sugar

d) Brain activity

Ans: a. It estimates the percentage of oxygenated hemoglobin.

8. X-ray imaging uses:

a) Sound waves

b) Ionizing radiation

c) Magnetic fields only

d) Visible light

Ans: b. X-rays are ionizing electromagnetic radiation.

9. Ultrasound imaging uses:

a) High-frequency sound waves

b) X-rays

c) Gamma rays

d) Radio waves only

Ans: a. Sound above about 20 kHz, typically 1-15 MHz in medical use.

10. MRI uses:

a) X-rays

b) Ultrasound

c) Strong magnetic fields and radio waves

d) Infrared light

Ans: c. No ionizing radiation is involved.

11. A pacemaker is implanted to:

a) Measure blood pressure

b) Regulate heartbeat using electrical pulses

c) Pump blood fully

d) Filter blood

Ans: b. It paces the heart when its natural rhythm is too slow or irregular.

12. A defibrillator is used to:

a) Deliver an electric shock to restore a normal heart rhythm

b) Measure heart rate

c) Dilate blood vessels

d) Record EEG

Ans: a. It resets dangerous rhythms such as ventricular fibrillation.

13. "Biocompatible" means a material:

a) Is cheap

b) Is magnetic

c) Is transparent

d) Does not cause harmful reactions in the body

Ans: d. Biocompatibility is essential for implants and devices.

14. A biosensor detects:

a) Only temperature

b) A biological substance and converts it into a measurable signal

c) Only light

d) Only sound

Ans: b. Example: a glucose sensor.

15. The unit of frequency is:

a) Volt

b) Ohm

c) Hertz

d) Watt

Ans: c. 1 Hz = 1 cycle per second.

16. An ECG electrode placed on the skin is used to:

a) Inject medicine

b) Heat the skin

c) Pick up small electrical signals from the body

d) Measure pressure

Ans: c. Electrodes convert ionic body currents into electrical signals.

# Medium (Q17-28)

17. The ECG wave that represents ventricular depolarization is:

a) P wave

b) QRS complex

c) T wave

d) U wave

Ans: b. P is atrial depolarization and T is ventricular repolarization.

18. Conductive gel is applied under ECG electrodes to:

a) Cool the skin

b) Glue the wire

c) Reduce skin-electrode impedance

d) Increase signal frequency

Ans: c. Lower impedance gives a cleaner signal.

19. Biopotential amplifiers use instrumentation amplifiers mainly because they have:

a) Low input impedance

b) High CMRR and high input impedance

c) Zero gain

d) High power consumption

Ans: b. Biosignals are tiny (µV to mV) and sit on top of large noise.

20. Normal SpO₂ in a healthy person is:

a) 50-60%

b) 70-80%

c) 95-100%

d) Above 120%

Ans: c. Values below about 90% are a concern.

21. Pulse oximeters work using which two light wavelengths?

a) Blue and green

b) UV and X-ray

c) Red and infrared

d) Green and yellow

Ans: c. Oxygenated and deoxygenated hemoglobin absorb these differently.

22. According to the Nyquist theorem, the sampling rate must be at least:

a) Equal to the signal frequency

b) Half the highest frequency

c) Twice the highest frequency

d) Ten times the lowest frequency

Ans: c. fs ≥ 2 × fmax.

23. 50/60 Hz noise in biosignals is caused by powerline interference and is removed using a:

a) Notch filter

b) High-pass filter at 100 Hz

c) Rectifier

d) Oscillator

Ans: a. A notch filter rejects a narrow band around the mains frequency.

24. Which imaging method gives excellent soft-tissue detail without ionizing radiation?

a) X-ray

b) CT scan

c) MRI

d) PET scan

Ans: c. MRI uses magnetic fields and radio waves.

25. The ultrasound transducer typically uses which material?

a) Piezoelectric crystal

b) Copper wire only

c) Silicon carbide only

d) Rubber

Ans: a. It converts electrical energy to vibration and back.

26. EEG alpha waves have a frequency range of about:

a) 0.5-4 Hz

b) 8-13 Hz

c) 30-50 Hz

d) 100-200 Hz

Ans: b. They are prominent when relaxed with eyes closed.

27. A strain gauge measures force by detecting a change in:

a) Color

b) Temperature only

c) Sound

d) Electrical resistance

Ans: d. Deformation changes the gauge's resistance.

28. The diagnostic bandwidth of a standard ECG is approximately:

a) 0.05-100 Hz

b) 1-10 kHz

c) 1-5 MHz

d) 500-1000 Hz

Ans: a. This range preserves the clinically important features.

# Tough (Q29-35)

29. An amplifier has differential gain 1000 and common-mode gain 0.1. Its CMRR in dB is:

a) 40 dB

b) 60 dB

c) 80 dB

d) 100 dB

Ans: c. CMRR = 1000/0.1 = 10,000, and 20 log₁₀(10,000) = 80 dB.

30. An EMG signal has useful content up to 500 Hz. The minimum sampling rate is:

a) 250 Hz

b) 500 Hz

c) 750 Hz

d) 1000 Hz

Ans: d. Nyquist gives 2 × 500 = 1000 Hz. In practice, sample higher.

31. For devices with direct cardiac contact (e.g., catheters), the commonly accepted safe leakage current limit is about:

a) 10 µA

b) 10 mA

c) 100 mA

d) 1 A

Ans: a. Even tiny currents applied directly to the heart can cause ventricular fibrillation (microshock).

32. Isolation amplifiers in patient monitors are used mainly to:

a) Increase gain

b) Reduce cost

c) Protect the patient from electric shock and break ground loops

d) Increase heart rate

Ans: c. They electrically separate the patient side from the mains-powered side.

33. The Right Leg Drive (RLD) circuit in an ECG:

a) Pumps blood

b) Feeds an inverted common-mode signal back to the patient to reduce interference

c) Amplifies the QRS only

d) Stores data

Ans: b. It actively cancels common-mode interference.

34. In CT imaging, the Hounsfield Unit (HU) value of water is:

a) -1000

b) -100

c) 0

d) +1000

Ans: c. Air is about -1000 HU and dense bone is about +1000 HU or more.

35. In MRI, the Larmor (resonance) frequency of protons is directly proportional to:

a) Patient weight

b) Strength of the main magnetic field (B₀)

c) Room temperature

d) Scan duration

Ans: b. ω = γB₀.